PURGENVENT Model 7910MAV

- 2.1	AIR VENTING VALVES

    - Series:  PURGEnVENT as manufactured by AGF Manufacturing, Inc.

          - Product:  Model M7910MAV. Manual Air Venting Valve is a 1/2 inch (13 mm) ball valve with a mesh strainer and ball float.

            - Standard:  UL's "Product iQ" .  NFPA 13, 13R, 13D (as applicable).

            - Pressure Rating:  300 psig (2070 kPa).

            - Body Material:  Forged brass body.

            - Components:  Stainless steel inlet screen (60 mesh), polypropylene float,

            - Inlet Size:  1/2 inch (13 mm) NPT.

            - Outlet Size:  1/2 inch (13 mm) NPT.